(date)

(mailing address)

Project location (address)

Dear (name)

The following code issues are being brought to your attention now since they may not have been clearly or correctly indicated on the construction documents. Compliance with these items will avoid any unnecessary delays during construction.

UCC403.42a:  Construction Documents

# R403.1.4 Minimum depth.

Exterior footings shall be placed not less than 12 inches (305 mm) below the undisturbed ground surface. Where applicable, the depth of footings shall also conform to Section R403.1.4.1.

# R403.1.4.1Frost protection.

Except where otherwise protected from frost, foundation walls, piers and other permanent supports of buildings and structures shall be protected from frost by one or more of the following methods:

- Extended below the frost line specified in Table R301.2.(1).

- Constructed in accordance with Section R403.3.

- Constructed in accordance with ASCE 32.

- Erected on solid rock.

Footings shall not bear on frozen soil unless the frozen condition is permanent.

Exceptions:

- Protection of free-standing accessory structures with an area of 600 square feet (56 m2) or less, of light-frame construction, with an eave height of 10 feet (3048 mm) or less shall not be required.

- Protection of free-standing accessory structures with an area of 400 square feet (37 m2) or less, of other than light-frame construction, with an eave height of 10 feet (3048 mm) or less shall not be required.

- Decks not supported by a dwelling need not be provided with footings that extend below the frost line.

# R403.1.7 Footings on or adjacent to slopes.

The placement of buildings and structures on or adjacent to slopes steeper than one unit vertical in three units horizontal (33.3-percent slope) shall conform to Sections R403.1.7.1 through R403.1.7.4.

- The minimum stair tread depth shall be 9 inches measured vertically from the nose of the tread above (min nose 1 inch).  The maximum riser height is 8 1/4 inches.  The maximum opening in risers shall be 4 inches 403.21(2) PA-UCC

# R312.1.1Where required.

Guards shall be provided for those portions of open-sided walking surfaces, including stairs, ramps and landings, that are located more than 30 inches (762 mm) measured vertically to the floor or grade below at any point within 36 inches (914 mm) horizontally to the edge of the open side. Insect screening shall not be considered as a guard.

# R312.1.2 Height.

Required guards at open-sided walking surfaces, including stairs, porches, balconies or landings, shall be not less than 36 inches (914 mm) in height as measured vertically above the adjacent walking surface or the line connecting the nosings.

Exceptions:

- Guards on the open sides of stairs shall have a height of not less than 34 inches (864 mm) measured vertically from a line connecting the nosings.

- Where the top of the guard serves as a handrail on the open sides of stairs, the top of the guard shall be not less than 34 inches (864 mm) and not more than 38 inches (965 mm) as measured vertically from a line connecting the nosings.

# R312.1.3 Opening limitations.

Required guards shall not have openings from the walking surface to the required guard height that allow passage of a sphere 4 inches (102 mm) in diameter.

Exceptions:

The triangular openings at the open side of stair, formed by the riser, tread and bottom rail of a guard, shall not allow passage of a sphere 6 inches (153 mm) in diameter.

- Guards on the open side of stairs shall not have openings that allow passage of a sphere 4⅜ inches (111 mm) in diameter.

# R311.7.8 Handrails.

Handrails shall be provided on not less than one side of each flight of stairs with four or more risers.

# R311.7.8.1 Height.

Handrail height, measured vertically from the sloped plane adjoining the tread nosing, or finish surface of ramp slope, shall be not less than 34 inches (864 mm) and not more than 38 inches (965 mm).

# R311.7.8.5 Grip size.

Required handrails shall be of one of the following types or provide equivalent grasp-ability.

- Type I. Handrails with a circular cross section shall have an outside diameter of not less than 1¼ inches (32 mm) and not greater than 2 inches (51 mm). If the handrail is not circular, it shall have a perimeter of not less than 4 inches (102 mm) and not greater than 6¼ inches (160 mm) and a cross section of not more than 2¼ inches (57 mm). Edges shall have a radius of not less than 0.01 inch (0.25 mm).

- Type II. Handrails with a perimeter greater than 6¼ inches (160 mm) shall have a graspable finger recess area on both sides of the profile. The finger recess shall begin within ¾ inch (19 mm) measured vertically from the tallest portion of the profile and have a depth of not less than 5/16 inch (8 mm) within ⅞ inch (22 mm) below the widest portion of the profile. This required depth shall continue for not less than ⅜ inch (10 mm) to a level that is not less than 1¾ inches (45 mm) below the tallest portion of the profile. The width of the handrail above the recess shall be not less than 1¼ inches (32 mm) and not more than 2¾ inches (70 mm). Edges shall have a radius of not less than 0.01 inch (0.25 mm).

# R507.9.2 Lateral connection.

Lateral loads shall be transferred to the ground or to a structure capable of transmitting them to the ground. Where the lateral load connection is provided in accordance with Figure R507.9.2(1), hold-down tension devices shall be installed in not less than two locations per deck, within 24 inches (610 mm) of each end of the deck. Each device shall have an allowable stress design capacity of not less than 1,500 pounds (6672 N). Where the lateral load connections are provided in accordance with Figure R507.9.2(2), the hold-down tension devices shall be installed in not less than four locations per deck, and each device shall have an allowable stress design capacity of not less than 750 pounds (3336 N).

The above items are not all-inclusive and the written text of the 2018 IRC as amended by Act 45/1999 shall apply.  Please do not hesitate to call should you have any questions.

Sincerely,

CODE.SYS CODE CONSULTING, INC.

Inspector

Cc:  file